Surveillance Radar Program 
Comparison Sheet of Product Proposed vs. Specification

Water King Doc No: 002 Rev 0

Submittal Title: Section T-15471 Water Filtration Equipment
Submittal No. : SUB- T-15471-1.3.D.0-002
                              Sheet 1 of 1

	Paragraph
	Specification 
	Product Proposed
	Refer Page No.
	Deviation

	3.6B 1.a
	Table shows Tubing Wall Thickness for 10 mm O.D. tubing to be a minimum of 1.2 mm
	WKI Comment:

Water King will use specified 10 mm tubing to operate the diaphragm valves on the skid. 

	Specifications 15935-22 & 23 rev 5. 
	none

	3.6B 2.a
	Instrument primary tubing and sample tubing shall be 12 mm ...
	WKI Comment:

Water King will use specified 12 mm tubing for pressure gauges and differential pressure gauges

	Specifications 15935-22 & 23 rev 5. 
	none


PAGE  

