[image: image1.wmf] 

Document № 030 Rev. 0

[image: image2.wmf] 


Client:

CTCI

Project №:  
0791258-VJ1.03 Radar Surveillance Facility
Title: 

Status Indications 

Reference: 
PID CTCI 003

	By:
	№
	Revision
	Date:

	 JEB
	 0
	Original 
	 06/23/10

	 
	 
	 
	 

	 
	 
	 
	 

	 
	 
	 
	 

	 
	 
	 
	 


Status Indications  

1. System flow

2. Total volume treated (Flow Meter Totalizer)

3. Volume until regeneration.  (Count down to demand set point for softener capacity)

4. Service or Backwash indication for Strainer.

5. Service or Backwash indication for Multimedia filter.

6. Service or Regeneration indication for Softener.

7. Service or Backwash indication for Activated Carbon. 

8. Service or Backwash – System level. 

9. Time since last backwash Strainer.

10. Time since last backwash Multimedia filter.

11. Time since last regeneration Softener.

12. Time since last backwash activated carbon filter.

13. Chemical feed pump in operation. (Tells if PLC is asking for chemcial feed pump to run. There is no feed back.)

102 Charbonnet Road ( Duson, Louisiana 70529, U.S.A.


(337) 988-2360 ( Fax: (337) 981-7922


� HYPERLINK "mailto:jbowie@waterking.com" ��jbowie@waterking.com� ( � HYPERLINK "http://www.waterking.com" ��www.waterking.com�


Delivering Experience, Quality, and Service since 1934.

















Water King                                                                         Page 1 of 1

_1338790985.doc
[image: image1.png]






